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Construction statement – 
Solid/liquid fuel heater

	This statement must be completed by the installer and be made available for the building inspector at the time of the inspection.
Upload this statement to Online Services 



Installer’s details
Issued by: (name of installer)

	     



NZHHA number: (if applicable):
	     



Relevant qualifications or experience
	     



Name of business:
	     



Phone number:
	     



Email address:
	     



Postal address:
	     



Project details
Building consent number:

	     



Project address:
	     



Installation of a:
	|_| solid fuel heater    
	|_| liquid fuel heater    
	|_| free-standing    
	|_| in-built    
	|_| insert    



	Make:
	Model:
	Serial No:

	     
	     
	     



Checklist
		[Select as applicable]
	Yes
	No
	N/A

	All fuel heaters:
The existing chimney has been cleaned and inspected for soundness prior to installation.
	|_|
	|_|
	|_|

	The fireplace surround / chimney face junction is sealed up with heat resistance material.
	|_|
	|_|
	|_|

	The flue pipe is constructed of austenitic stainless steel.
	|_|
	|_|
	|_|

	The appliance and the floor protector are mechanically fixed to the floor to provide seismic restraint.
	|_|
	|_|
	|_|

	The flue sections are secured together with stainless steel rivets.
	|_|
	|_|
	|_|

	The flue is secured to the appliance.
	|_|
	|_|
	|_|

	Flue/enclosure has been vented.
	|_|
	|_|
	|_|

	Flue and appliance clearances have been achieved in terms of the manufacturer’s installation instructions or AS/NZS 2918.
	|_|
	|_|
	|_|

	The flue height meets the minimum specified in the manufacturer’s installation instructions or AS/NZS 2918.
	|_|
	|_|
	|_|

	Flue flashing has been installed as specified in the manufacturer’s installation instructions.
	|_|
	|_|
	|_|

	Flue bracing installed as specified in the manufacturer’s installation instructions.
	|_|
	|_|
	|_|

	The roofing underlay has been installed/repaired around flue penetration.
	|_|
	|_|
	|_|

	For an appliance with a wetback, the connection or reconnection of hot water supply system to appliance wetback has been undertaken by a certifying plumber 
[bookmark: Text2]Where applicable, include the certifying plumber’s details:       
	|_|
	|_|
	|_|

	For a hot water system where the addition of a wetback is new, has an anti-scald device been installed and the certifying plumber completed the B-084 Construct statement – Pipework testing.
	|_|
	|_|
	|_|

	For an installation of the appliance that includes electrical work has the electrical work been undertaken by a licensed electrician who has provided an electrical safety certificate 
Where applicable, include the licenced electrician’s details:       
	|_|
	|_|
	|_|

	Smoke alarms (with hush facility) as detailed on the building consent documents are installed and tested
(Note, for building consent applications received after 1st November 2024 the smoke alarm system is required to be interconnected in accordance with NZS 4514:2021)
	|_|
	|_|
	|_|

	Liquid fuel only
The liquid fuel heater has been installed in accordance with AS 1691 
	|_|
	|_|
	|_|

	The liquid fuel burner has been commissioned in accordance with the manufacturer’s installation and operating instructions. A copy of commissioning certificate is attached. 
	|_|
	|_|
	|_|

	The liquid fuel storage tank and feed system has been installed in accordance with AS1692
	|_|
	|_|
	|_|

	The fuel storage tank has secondary containment (100% if roofed, 120% if unroofed)
	|_|
	|_|
	|_|



If response to any of the items is no, please comment:

	     


Statement

|_|	I am satisfied the building work described above has been carried out in accordance with the building consent

|_|	I understand that Christchurch City Council may rely on this statement as evidence to be satisfied to issue the code compliance certificate at the completion of the building work.


	Installer’s signature:
	Date:

	     
	     



Documents attached (please list the supporting documents you have attached) 
	     



image1.jpeg
Christchurch gf)
City Council ww




