Pipeline CCTV Non Conformance Report (NCR) and

Request for Consideration of As-Built Pipe Defects – Replaced Pipes

- Non-Conforming Work Details

| Contract No. / RMA No. |  |  |
| --- | --- | --- |
| NCR Reference No. |  |  |

Please submit all of the following documents to CCC to avoid processing delays:

Attached:

- Pipe defect consideration request form

- CCTV Log Sheet

- Photo of each defect (still images from CCTV inspection)

- Location Plan (aerial photo)

- Construction Plan including long section

- Scala Penetrometer Test Sheet

- Pressure Test Sheet

- Pipe Ovality Test Sheet (for PF defects)

- Dip Depth Calculation (for DP defects)

|  | Information | Comments |
| --- | --- | --- |
| Street Name |  |  |
| Pipe Asset ID: |  |  |
| Network | Wastewater Stormwater |  |
| MH to MH Reference: |  |  |
| Pipe Diameter |  |  |
| Pipe Material |  |  |
| Pipe Length |  |  |
| Pipe Grade |  |  |
| Pipe Depth |  |  |
| Pipe Type | Main Collector / Rider Main Main below collector / rider main Lateral |  |
| Number of laterals |  |  |
| Land Use | Residential Commercial Mix: % Residential % Commercial |  |
| Ground material |  |  |
| Was a raft used? | No Yes Give details: |  |
| Drainage Contractor Company |  |  |
| Name of CCC Authorised Drainlayer |  |  |
| Crew located on site? In catchment? |  |  |

- Proposed Corrective Action

Description of as-built pipe defects and proposed corrective actions for each defect (if “no action” is proposed then give reasons. Consider long-term operational impacts in this case).

| Defect | From | To | Deviation from Spec (e.g. dip depth in mm and %) | Proposed Corrective Action | Comments / Reasons for Proposed ‘no action’ |
| --- | --- | --- | --- | --- | --- |

Additional Information

| Cost vs. benefit of rework |  |
| --- | --- |
| Likely disruption to public |  |
| Other reasons why this request is being put forward. |  |
| Site Engineer’s Details | Name: Email: Phone: |

- Approvals

| The corrective action is: | Accepted |
| --- | --- |
|  | Not accepted |
|  | Accepted, subject to the following conditions: |

|  | Signature | Date |
| --- | --- | --- |
| Engineer |  |  |
| Council’s Representative |  |  |

- Sign-Offs

The corrective action has been completed.

|  | Name | Signature | Date |
| --- | --- | --- | --- |
| Certified |  |  |  |
| Reviewed |  |  |  |
| Approved |  |  |  |